ATEK MIDAS – ATEK1401 DSG-22.6 GHz Declaration of Conformity

EU AND UK DECLARATION OF CONFORMITY

CE / UKCA Declaration - RED and RoHS

| Manufacturer | ATEK MIKRODALGA A.Ş. (ATEK MIDAS) |
| --- | --- |
| Registered address | Çifte Havuzlar Mah. Eski Londra Asfaltı Cad., YTÜ Teknopark B2 Blok 151/1G No:105, 34220 Esenler / Istanbul, Türkiye |
| Telephone | +90 212 483 71 67 |
| Email | info@atekmidas.com |

Declaration

This Declaration of Conformity is issued under the sole responsibility of the manufacturer identified above.

The manufacturer declares that the product described below, when used as intended and in accordance with the supplied user instructions, is in conformity with the applicable European Union harmonisation legislation and applicable United Kingdom statutory instruments listed in this declaration.

| Product name | DSG-22.6 GHz |
| --- | --- |
| Product type / description | USB-powered programmable RF signal generator with touchscreen, USB and Wi-Fi control |
| Model number | ATEK1401 |
| Power source | USB Type-C, 5 V DC, 1.5 A. The external USB power source is not part of this declaration. |
| Radio interfaces | Integrated Wi-Fi for web-interface. Conducted RF test-signal output: 0.15-22.6 GHz via SMA connector. |

| CE |  |  |
| --- | --- | --- |
| RED | Directive 2014/53/EU - Radio Equipment Directive, as amended | ETSI EN 300 328 V2.2.2 ETSI EN 301 489-1 V2.2.3 ETSI EN 301 489-17 V3.3.1 EN IEC 62368-1:2020+A11:2020 EN 62479:2010 |
| RoHS | Directive 2011/65/EU, as amended, including Commission Delegated Directive (EU) 2015/863 | EN IEC 63000:2018 |
| UKCA |  |  |
| RED | Radio Equipment Regulations 2017, S.I. 2017/1206, as amended | BS EN 300 328 V2.2.2 BS EN 301 489-1 V2.2.3 BS EN 301 489-17 V3.3.1 BS EN IEC 62368-1:2020+A11:2020 BS EN 62479:2010 |
| RoHS | The Restriction of the Use of Certain Hazardous Substances in Electrical and Electronic Equipment Regulations 2012, S.I. 2012/3032, as amended | BS EN IEC 63000:2018 |

•  The product is intended for laboratory, research, development, calibration, production-test and field-test use as an RF signal generator.

•  The manufacturer will retain the technical documentation and this declaration for the period required by the applicable legislation and make them available to the competent authorities on request.

Signature

| Signed for and on behalf of | ATEK MIKRODALGA ANONIM SIRKETI |
| --- | --- |
| Name | KAGAN KAYA |
| Position | CO-FOUNDER |
| Place of issue | Istanbul, Türkiye |
| Date of issue |  |
| Signature |  |